HEALTH, SAFETY & ENVIRONMENT MANAGEMENT SYSTEM

DAN HSE Minimum Requirements

Overhead and Underground Services

Document Control

| Document No. | 01-000001-000000-DAN-HSE-MNR-000024 | Revision | R01 |
| --- | --- | --- | --- |
| Issue Date | June 2026 | Classification | Controlled — Internal |
| Document Owner | HSSE Department | Page Format | US Letter |

Table of Contents

Purpose

Scope

Definitions

1. General Requirements

Standards

Tools and References

Revision History

# Purpose

The purpose of Overhead & Underground Services HSE Requirement is to outline the minimum control measures that are essential for effectively managing work H&S risks to eliminate the risk to workers engaged in working near utilities, and to others. In locations where the risks cannot be eliminated, control measures must be implemented to minimize the risks.

# Scope

This HSE Minimum Requirement applies to all parties’ personnel working within DAN Company Company Limited “DAN” Projects, site offices, or any DAN-controlled work areas/offices.

# Definitions

| Term | Definition |
| --- | --- |
| Spotter zone | means the area adjacent to overhead assets (power lines) |
| H&C | DAN Heritage and Culture Authority |
| Operator | The individual who operates and controls a piece of plant or equipment at the workplace. |
| NOC | No Objection Certificate - permission conditions stipulated by an asset owner or concerned authorities |

# 1. General Requirements

- Specific competency-based training will be provided to:

- Managers / Supervisors / Engineers

- Employees who work in the vicinity of overhead/underground services

- Plant and equipment maintenance and inspection

- All operations in the vicinity of overhead and underground services will apply:

- NOC authorization process

- Permit-to-Work system

- Emergency Response Planning

- Work activities in the vicinity of overhead services will have documented:

- Scope, authorizations, rules, and hazard controls for:

- i. Traffic/plant and equipment restrictions

- ii. Work zones – barriers, signage, lighting,

- iii. Energy isolation and de-isolation

- Work activities in the vicinity of underground services will have documented:

- Scope, authorizations, rules, and hazard controls for:

- i. Traffic/plant and equipment restrictions

- ii. Work zones – barriers, signage, lighting,

- iii. Service avoidance/protection methods when excavating and digging Operations involving overhead and underground services will be frequently inspected by a competent person and the outcomes documented

# Standards

- • DAN Construction HSE Management System Manual (01-000001-000000-DAN-HSE-MAN-000001) and management procedures

- • Saudi Labour Law – Royal Decree No. M/51, 23 Sha’ban 1426 / 27 September 2005

- • NOC for overhead & underground clearance / Regulation by Saudi Electric Company &

- Ministry of Municipality

# Tools and References

- NOC from authorities

- Approved Procedure, Method Statement & Risk Assessment

- Training Records for employees

- Workplace Inspection & Permit Record

- OSHA standard 1926.1408 & 1926.416 for Power & Underground utilities

- DAN H&C requirements

# Revision History

| Rev. | Date | Description of Change | Approved By |
| --- | --- | --- | --- |
| R01 | June 2026 | First issue — DAN HSE Minimum Requirement, adapted from the source OH&S minimum requirement, re-branded to DAN and coded to the DAN document-numbering convention (01-000001-000000-DAN-HSE-MNR-{seq}). | HSSE Manager |